RE: Cilegon Plant — EHS Enforcement Notices (3 Notices, Jan–Mar 2025)

Email Thread  |  9 messages messages  |  Reference: Email_03_Cilegon_EHS_Enforcement.docx

From: BPOM Enforcement Division <enforcement@bpom.go.id>

To: Daichi Maruyama <DaichiM@ABSx62256373.OnMicrosoft.com>

Sent: Thu, 16 Jan 2025, 2:30 PM

Subject: Notice of Enforcement Action — PT Zava Chemicals Indonesia (Cilegon Facility) — Notice No. BPOM/ENF/2025/0116

Kepada Yth. Bapak Daichi Maruyama,

Badan Pengawas Obat dan Makanan (BPOM) hereby issues Enforcement Notice No. BPOM/ENF/2025/0116 to PT Zava Chemicals Indonesia for the following violation identified during the scheduled inspection on 14 January 2025:

VIOLATION: Effluent Discharge Non-Compliance

- Chemical Oxygen Demand (COD) in wastewater discharge measured at 487 mg/L (Permitted limit: 150 mg/L)

- Total Dissolved Solids (TDS): 2,840 mg/L (Permitted limit: 1,000 mg/L)

- pH: 4.2 (Permitted range: 6.0–9.0)

Required Actions:

1. Suspend all production activities generating effluent from Production Lines 3 and 4 within 48 hours

2. Submit written response within 14 working days

3. Engage KLHK-certified environmental consultant within 7 days

Non-compliance may result in revocation of operating permit.

Hormat kami, Drg. Priyanka Dewi | Kepala Divisi Penegakan | BPOM RI

————————————————————————————————————————————————————————————————————————————————

From: Daichi Maruyama <DaichiM@ABSx62256373.OnMicrosoft.com>

To: Sasha Ouellet; Will Baxter; Omar Bouchard <SashaO@ABSx62256373.OnMicrosoft.com; WillB@ABSx62256373.OnMicrosoft.com; OmarB@ABSx62256373.OnMicrosoft.com>

Sent: Thu, 16 Jan 2025, 5:14 PM

Subject: URGENT: Cilegon — First BPOM Enforcement Notice Received

Sasha, Will, Omar —

We received the attached BPOM enforcement notice for Cilegon today. Key facts:

• Effluent COD at 487 mg/L vs permitted 150 mg/L — that is 3.2x the limit

• Production Lines 3 & 4 must suspend within 48 hours

• Lines 3 & 4 produce ~38% of Cilegon's specialty chemicals output

Immediate actions I'm taking:

1. Calling Plant Manager (Pak Hendra) now — suspension to commence tomorrow morning

2. Requesting Will's team to review permit conditions and draft initial response

3. Omar — please log this as a Tier 2 Operational Risk Event

Revenue impact: approx USD 820K/week while Lines 3 & 4 are suspended.

Daichi

————————————————————————————————————————————————————————————————————————————————

From: Will Baxter <WillB@ABSx62256373.OnMicrosoft.com>

To: DaichiM@ABSx62256373.OnMicrosoft.com <DaichiM@ABSx62256373.OnMicrosoft.com>

Sent: Fri, 17 Jan 2025, 9:45 AM

Subject: RE: Cilegon — Legal Assessment of BPOM Notice

Daichi,

Legal assessment of Notice BPOM/ENF/2025/0116:

1. The notice is valid under PP No. 22/2021 (Environmental Protection). BPOM has full authority to issue this.

2. The 14-working-day response window is strict — deadline is 5 February 2025.

3. Recommend we engage Makarim & Taira S. (Jakarta environmental law specialists) by Monday.

4. The suspension of Lines 3 & 4 must be documented with BPOM confirmation letter — do not restart without written clearance.

5. This event may trigger a disclosure obligation under IDX listing rules if impact exceeds IDR 5B (~MYR 1.5M). Production suspension at USD 820K/week will cross this in ~2 weeks.

I need the plant's environmental permit and last 12 months of effluent monitoring data by EOD today.

Will Baxter | Group General Counsel | WillB@ABSx62256373.OnMicrosoft.com

————————————————————————————————————————————————————————————————————————————————

From: Hendra Kusuma (Plant Manager, Cilegon) <h.kusuma@zavachemicals.co.id>

To: DaichiM@ABSx62256373.OnMicrosoft.com <DaichiM@ABSx62256373.OnMicrosoft.com>

Sent: Fri, 17 Jan 2025, 3:30 PM

Subject: Cilegon Plant — Lines 3 & 4 Suspended. Root Cause Preliminary

Dear Mr. Maruyama,

Lines 3 and 4 have been suspended as of 08:00 today, Friday 17 January 2025. Confirmation letter from BPOM received.

Preliminary root cause analysis:

• Effluent Treatment Plant (ETP) aeration blower #2 failed on 8 January 2025

• Maintenance team attempted temporary bypass — this was NOT properly documented or approved

• The bypass caused aerobic treatment to be bypassed for 6 days, resulting in the COD spike

• ETP blower #2 replacement part (German-sourced) has 8-week lead time

Workaround option: Rent a portable ETP aeration unit — we have identified Enviro Asia Rental (Singapore). Cost ~USD 42K/month. This can be operational in 10 days.

Request: Approval to proceed with rental solution to resume Lines 3 & 4 as quickly as possible.

Hendra Kusuma

————————————————————————————————————————————————————————————————————————————————

From: Daichi Maruyama <DaichiM@ABSx62256373.OnMicrosoft.com>

To: Hendra Kusuma <h.kusuma@zavachemicals.co.id>

Sent: Mon, 20 Jan 2025, 8:00 AM

Subject: RE: Cilegon Lines 3 & 4 — Rental ETP Approved

Pak Hendra,

Approved — proceed with Enviro Asia Rental immediately. Authorization code: ZGH-COO-2025-0042.

Also: I need a full HIRARC review of the ETP system and the maintenance bypass process before Lines 3 & 4 restart. This must be completed by the EHS team.

Please also prepare a corrective action plan for the BPOM response letter — I need the draft by 29 January 2025.

Daichi

————————————————————————————————————————————————————————————————————————————————

From: BPOM Enforcement Division <enforcement@bpom.go.id>

To: DaichiM@ABSx62256373.OnMicrosoft.com <DaichiM@ABSx62256373.OnMicrosoft.com>

Sent: Tue, 11 Feb 2025, 10:00 AM

Subject: Second Notice of Enforcement Action — Chemical Storage Labelling — BPOM/ENF/2025/0211

Kepada Yth. Bapak Daichi Maruyama,

BPOM issues a second Enforcement Notice following an unannounced inspection on 7 February 2025:

VIOLATION: Chemical Storage Labelling Non-Compliance (Permenkes No. 56/2014)

- 14 of 68 chemical storage containers found without GHS-compliant hazard labels

- 3 containers: mislabelled (wrong chemical name) — creating significant safety and misuse risk

- Secondary containment bunding in Zone B found to be cracked and non-functional

Required Actions within 21 working days:

1. Full chemical inventory audit with GHS labelling verification

2. Replace/repair all non-compliant bunding in Zones B and C

3. Submit photo evidence of corrective actions

BPOM notes this is the second enforcement notice within 30 days — further violations will result in facility closure order.

Drg. Priyanka Dewi | BPOM RI

————————————————————————————————————————————————————————————————————————————————

From: BPOM Enforcement Division <enforcement@bpom.go.id>

To: DaichiM@ABSx62256373.OnMicrosoft.com <DaichiM@ABSx62256373.OnMicrosoft.com>

Sent: Wed, 12 Mar 2025, 9:15 AM

Subject: Third and Final Notice — PPE Non-Compliance — BPOM/ENF/2025/0312 — FACILITY CLOSURE WARNING

Kepada Yth. Bapak Daichi Maruyama,

BPOM issues a Third and Final Enforcement Notice following spot inspection on 10 March 2025:

VIOLATION: Personal Protective Equipment (PPE) Non-Compliance

- 8 workers observed handling hazardous chemicals without face shields

- 4 workers found using PPE beyond service life (expired chemical resistance gloves)

- PPE inspection records: last updated December 2024 — no January or February records

FORMAL WARNING: This is the third enforcement notice within 60 days.

Under PP 50/2012 Article 23, BPOM is now authorised to issue a Facility Closure Order if a fourth violation is identified within 90 days.

Required Actions within 10 working days:

1. Immediate PPE audit across all 1,240 Cilegon workers

2. PPE Training refresher for all chemical handling staff (documented)

3. Appoint dedicated EHS Compliance Officer reporting directly to Plant Manager

Drg. Priyanka Dewi | BPOM RI

————————————————————————————————————————————————————————————————————————————————

From: Daichi Maruyama <DaichiM@ABSx62256373.OnMicrosoft.com>

To: Sasha Ouellet; Will Baxter; Omar Bouchard <SashaO@ABSx62256373.OnMicrosoft.com; WillB@ABSx62256373.OnMicrosoft.com; OmarB@ABSx62256373.OnMicrosoft.com>

Sent: Wed, 12 Mar 2025, 11:30 AM

Subject: CRITICAL: Third BPOM Notice — Facility Closure Warning

Sasha, Will, Omar —

Third BPOM notice received. Closure warning is now formal.

Summary of three notices:

1. Jan 2025: Effluent discharge (COD 3.2x limit) — Lines 3&4 suspended, ETP rental deployed

2. Feb 2025: Chemical storage labelling (14 containers non-compliant) — corrective action underway

3. Mar 2025: PPE non-compliance (8 workers) — FACILITY CLOSURE WARNING issued

Revenue suspended since Jan: ~USD 3.4M total (4 weeks Lines 3&4 down)

Closure risk: Real if 4th violation occurs before mid-June 2025

I recommend we request an emergency audit-readiness review with BPOM — Will, can we request a joint inspection to close out all three notices simultaneously?

Also: we must hire the EHS Compliance Officer immediately. Sonia, I'm CC-ing you on a separate email for the emergency hire.

Daichi

————————————————————————————————————————————————————————————————————————————————

From: Sasha Ouellet <SashaO@ABSx62256373.OnMicrosoft.com>

To: DaichiM@ABSx62256373.OnMicrosoft.com <DaichiM@ABSx62256373.OnMicrosoft.com>

Sent: Wed, 12 Mar 2025, 2:00 PM

Subject: RE: Cilegon — Board Needs to Know

Daichi,

Three BPOM notices in 60 days with a closure warning is a Board-level matter.

I am scheduling an emergency Risk Committee call for Friday 14 March at 9:00 AM. Please prepare a 3-slide briefing: (1) timeline and status of all three notices, (2) financial exposure, (3) remediation plan with completion dates.

Omar — please ensure this is escalated on the enterprise risk register as a Tier 1 event immediately.

Will — we also need to assess whether this triggers any disclosure obligation to Bursa Malaysia.

Sasha

————————————————————————————————————————————————————————————————————————————————